## Sheet1
Subsystem | Timeline | Constraint | Constraint
RF | rftime electron FD mean | < ±10 ps
| rftime electron FD sigma | < 70 ps
LTCC | ltcc elec nphe sec | 12-14
HTCC | htcc nphe sec | 11-13
FTOF | ftof edep p1a midangles | 9.25-10.5 MeV
| ftof edep p1b midangles | 11.25-12.25 MeV
| ftof edep p2 | 9.2-10.2 MeV
| ftof time p1a mean | < ±25 ps
| ftof time p1a sigma | < 125 ps
| ftof time p1b mean | < ±15 ps
| ftof time p1b sigma | < 70 ps
| ftof time p2 mean | < ±50 ps
| ftof time p2 sigma | < 325 ps
FT | ftc pi0 mass mean | 134-136 MeV
| ftc pi0 mass sigma | < 5 MeV
| fth MIPS energy | layer 1: 1.2-1.35 MeV | layer 2: 2.7-2.9 MeV
| fth MIPS time mean | layer 1: < ±200 ps | layer 2: < ±200 ps
| fth MIPS time sigma | layer 1: < 1.35 ns | layer 2: < 1.1 ns
ECAL | ec Sampling | 0.24-0.26
| ec gg m mean | 131-134 MeV
| ec gg m sigma | < 15 MeV
| ec pim time mean | < ±40 ps
| ec pim time sigma | < 200 ps
| ec pip time mean | < ±40 ps
| ec pip time sigma | < 200 ps
CVT
CTOF | ctof edep | 5.7-6.3 MeV
| ctof time mean | < ±20 ps
| ctof time sigma | < 115 ps
CND | cnd dEdz mean | 1.75-2.25 MeV/cm
| cnd dEdz sigma | < 300 MeV/cm |  | seems that it should be 0.3 MeV/cm
| cnd time neg vtP mean | < ±100 ps
| cnd time neg vtP sigma | < 300 ps
| cnd zdiff mean | < 0.4 cm |  | assuming it is +/- 0.4 cm
| cnd zdiff sigma | < 4 cm
DC | dc residuals sec sl peak | 225-450 mm
| dc residuals sec sl sigma | < ±250 mm |  | doesn’t seem correct; most data are in the range 200-400 micrometers
BAND | band adcCorr | Comb1: 1700-1800 | Comb2: 1840-1890 | cannot find sample timelines
| band meantimeadc |  |  | cannot find sample timelines
| band meantimetdc |  |  | cannot find sample timelines
RICH | rich time fwhm max | < 1 ns |  | only 5 runs in v2.2.29 satisfy this constraint